University Health and Safety Policy

Policy on Controlling Noise at Work

1. 	Policy

Loughborough University will put in place measures to protect employees from the risks of Noise Induced Hearing loss (NIHL) and tinnitus, which can be caused by exposure to excessive noise.  These measures will include:-

- Assessing the risks from noise exposure

- Taking measures to reduce noise exposure where a risk assessment shows that this is necessary

- Ensuring the level of noise generated is taken into account when a new piece of equipment is purchased or hired

- Providing hearing protection where necessary if risks can not be adequately reduced by other means.

- Providing training and information for employees on the risks from noise and the measures in place to reduce these

- Providing health surveillance where the risk assessment shows that this is appropriate.

This will enable the University to satisfy its obligations under the Control of Noise at Work Regulations (2005) and the Management of Health and Safety at Work Regulations (1999).

This policy does not cover the environmental aspects of noise and noise pollution; or the adverse affects on wellbeing which can arise from ‘nuisance’ noise which is below the levels likely to cause deafness.

“Prolonged exposure to noise at work can cause hearing loss, which is often permanent. Hearing loss caused by work is preventable, but once your hearing has gone, it won’t come back”

HSE website

2. 	Procedures and Guidance

- Exposure Limit Values and Action Values

Lower Exposure Action Value – 	80dB(A) (personal exposure averaged over a day)

135 dB(C) Peak Sound pressure

Upper Exposure Action Value – 	85dB(A) (personal exposure averaged over a day)

137 dB(C) Peak Sound pressure

Wherever exposure at or above these levels occurs, certain actions are required.

Where exposure is very varied, average exposure may be calculated over a week rather than a day.

Exposure Limit Value – 	87dB(A) (exposure averaged over a day or a week)

140 dB(C) Peak Sound Pressure

This is the maximum sound exposure permitted for any individual and takes hearing protection into account i.e. it is the actual sound exposure of the individual ‘at the ears’ following any attenuation from hearing protection.

- Risk Assessment

A noise risk assessment is required wherever it is likely that exposure will occur at or above the lower exposure action value.

As a guide to this, the following may be considered:-

  - if noise is intrusive but normal conversation is possible, likely noise level is approx 80dB

  - if you have to shout to talk to someone 2m away, likely noise level is approx 85 dB

  - if you have to shout to talk to someone 1m away, likely noise level is 90dB

The decibel scale used to measure noise is logarithmic. An increase in 3 dB equates to a doubling of sound; the increase from 80 to 85 dB is almost a four fold increase in sound level.

A tractor, a power mower and a hand drill are each likely to generate at least 90dB(A); a chain saw may be well over 100dB(A)

Personal noise exposure is a function of noise level and length of exposure. An individual working in an area where the noise level was 80dB would have a personal exposure of 80dB if he or she worked there for 8 hours per day.  Working in an area where the noise level was 85 dB for 2 hours per day would also give a personal exposure of 80 dB.

Where noise exposure is accompanied by exposure to vibration, or to some chemicals such as solvents the risk of adverse effects may be  higher at a given noise level.

Formal, documented risk assessment should be carried out if any individual works in an area exceeding 80 dB on a regular basis (e.g. 4 hours or more, most days) or if noise levels exceed 85dB, even if exposure is infrequent or irregular.

If risk assessment is deemed not to be necessary this should be recorded, for example as part of a department or section’s general risk assessment.

Risk Assessment requires :-

- assessment of the level and type of noise; this may come from manufacturer’s data for individual pieces of equipment, or from sound level measurement, especially where multiple pieces of equipment operate in an area simultaneously.  Additional noise e.g. from background music should also be included;

- identification of who might be affected;

- the likely exposure time of those individuals, taking into account working patterns, noise exposure during breaks etc;

- assessment of indirect risk e.g. the risk of individuals not hearing warning alarms due to the noise level;

- consideration of additional risk factors such as the presence of vibration or solvents.

The risk assessment should include an action plan which documents the measures already in place to reduce the risk from noise exposure and any further measures planned.

The noise risk assessment can be a stand alone document, or can be incorporated into the overall risk assessment document for a department or process where this is more appropriate

The risk assessment should be reviewed if there is any change in noise exposure; and at least every 2 years otherwise.

The risk assessment for noise, and any associated measurement should  be carried out in conjunction with the Health, Safety and Environment Office to ensure that the assessor has the necessary skills and experience.

- Reducing Noise Exposure

Measures should be put in place to reduce risks from noise exposure to as low a level as is reasonably practicable – even if noise levels are below the lower exposure action value, consideration should be give as to whether further reduction is practical.

Wherever noise levels may exceed the lower exposure action level (e.g. personal exposure exceeding 80 dB) assistance should be sought from the Health, Safety and Environment Office to assist with risk assessment and noise reduction.

Formal measures to reduce noise exposure must be introduced if the upper exposure action value is exceeded i.e. personal exposure above 85dB.  Provision of hearing protection is not an adequate sole solution in these circumstances.

Personal noise exposure MUST NOT exceed the exposure limit value of 87 dB (this measurement can take into account the effect of hearing protection).

Measures to reduce noise exposure may include:-

- replacing tools and equipment with alternatives which create lower levels of noise

- ensuring all equipment is properly maintained

- Reducing exposure by reducing time exposed to noise

- Shielding or enclosure (of either a piece of equipment or the operator).

Detailed guidance on ways of reducing noise exposure can be found in “Controlling Noise at work – Guidance on Regulations” (HSE 2005)

- Hearing Protection

Hearing protection can be used as an additional measure once noise has been reduced as far as is reasonably practicable by other means; or as an interim measure pending noise reduction.  It must not be used as the sole method of protection if personal noise exposures exceed the upper action value (85dB)

Hearing protection should be made available on request if noise exceeds the lower action value (80dB)

Any area where noise levels exceed 85 dB (or peak sound level of 137dBC) must be designated as ‘Hearing Protection Zones’ and marked with appropriate signage.  Within these areas, wearing of hearing protection will be compulsory, even though exposure may only be for short periods of time.

Hearing protection provided must be suitable for the levels and type of noise individuals are exposed to.  Guidance on choosing suitable hearing protection can be found in “Controlling Noise at work – Guidance on Regulations” (HSE 2005).

Hearing protection should be stored properly, well maintained, and regularly inspected by a competent person.

- Health Surveillance

Health surveillance (audiometry) must be carried out for employees who are regularly exposed to  noise above the upper exposure action value (85 dB)

Health surveillance will also be offered to those exposed above the lower exposure action value if they are at increased risk e.g. if they report a known sensitivity to noise damage or a family history of early deafness.

Where health surveillance is required it will usually be carried out annually for two years then 3 yearly.  Wherever possible, audiometry for new employees (or those newly exposed to noise within the university) should be carried out prior to any noise exposure.

Health surveillance will be carried out by the Occupational Health department.  All individual records will be held in confidence.  Where appropriate, summary results for groups of employees will be reported back to a manager to indicate the effectiveness of noise management systems.

- Training and information

All employees who are exposed to noise above the lower exposure action value should be given training to include:-

  - The adverse effects of noise

  - The results of the local risk assessments

  - The measures in place to reduce noise exposure

  - The need for hearing protection

  - The correct use of hearing protection

  - The need for health surveillance

  - The responsibilities on employees

Face to face training may be provided by the Departmental Safety Officer if he/she is competent  or can be arranged through the Health Safety and Environment office.  Alternatively training may be computer based or through use of leaflets.

Measures must be in place to ensure that new employees receive appropriate training prior to exposure to noise.

3. 	Responsibilities

- Head of Department

- Nominate a person(s)(usually the Departmental Safety Officer) to support the implementation of the noise regulations within the department or section, and ensure they have the necessary skills and competence

- Support the nominated person(s) in implementing measures to comply with the Noise at Work regulations

- Ensure all managers and employees within the department discharge their responsibilities in accordance with this policy

- Managers and Supervisors

- Understand the scope and content of the Noise at Work regulations where this is relevant to work in their area

- Ensure noise factors are taken into account when hiring or purchasing new equipment

- Ensure that necessary noise risk assessments have been undertaken for any equipment used by those in their charge

- Implement and enforce noise control measures, in conjunction with the Departmental safety officer

- Ensure employees are suitably trained in all aspects of operating equipment, including noise control

- Departmental Safety Officer (or other nominated person)

- Understand the scope and content of the Noise at Work regulations

- Identify whether formal noise risk assessment is required within the department

- Ensure noise factors are taken into consideration when hiring or purchasing new equipment

- Work with the Health, Safety and Environment Office to

  - Carry out noise risk assessment if required

  - Implement noise control measures where appropriate

  - Select and supply suitable hearing protection where required

  - Ensure suitable signage is in place

  - Identify where health surveillance is required, and liaise with the relevant managers/supervisors and Occupational health

- Monitor and enforce use of hearing protection where appropriate

- Provide training and information for those who may be exposed to noise above the lower action level (as at 2f above)

- Employee

- Use all equipment  and noise control measures in accordance with instruction

- Wear hearing protection where required

- Maintain hearing protection and any other noise control equipment

- Report any defects or difficulties with hearing protection and any other noise control equipment

- Co-operate with any programme of health surveillance which is identified as necessary following risk assessment

- Health Safety and Environment Office

When requested by the Departmental Safety Officer or equivalent:-

- carry out sound level measurement where appropriate

- advise on noise control measures

- advise whether health surveillance is appropriate

- providing training for nominated persons (DSOs or equivalent) to ensure they are competent to carry out the activities outlined in 3b above

- Audit compliance with this policy and the underpinning regulations

- Occupational Health

- Provide health surveillance on request

- Give feedback and guidance on risk to individuals following health surveillance

- Feedback group results from health surveillance to the appropriate manager

- Advise the appropriate manager if there are restrictions on an individual’s ability to work in a noisy area due to health risks

4. 	References and further reading

Controlling Noise at work The Control of Noise at Work Regulations, 2005. guidance on regulations L108 HSE Books

Worried about your hearing?  http://www.hse.gov.uk/noise/worried.htm

Protect your hearing or lose it, HSE Guidance for employees  INDG 363, also available on-line http://www.hse.gov.uk/pubns/indg363.pdf

Management of Health and Safety at Work Regulations