The Dangerous Substances and Explosive Atmospheres Regulations (DSEAR) 2002 Policy

___________________________________________________________________

CONTENTS

1	University Policy

1.1	Scope

1.2	Key legislative requirements

2	Duty Holders

2.1	Heads of Department/Heads of Support Services

3	Guidance

3.1 	Activities/substances to which DSEAR applies

3.2 	Determining the presence of dangerous substances

3.2 	Risk assessment

3.4 	Elimination

3.5 	Control measures

3.6 	Additional requirements for explosive atmospheres

3.7 	Arrangements to deal with accidents, incidents and emergencies

3.8 	Information, instruction and training

3.9 	Recording the significant findings of the risk assessment

3.10 	Petroleum spirit stores and legislation

4	Definitions

5	Further reading / references

Appendices

Appendix 1: DSEAR risk assessment form (including safe system of work pro forma)

1.	Policy

Loughborough University recognises its duty under the Dangerous Substances and Explosive Atmospheres Regulations (DSEAR) 2002 to provide a safe and healthy working environment by the control of fire and explosion risks arising from use of dangerous substances.

  - Scope

- This policy shall apply to all Loughborough University workplace activities including research, teaching and operational activities.

- DSEAR applies if:

- a dangerous substance is present (or is liable to be present) at the workplace and;

- the dangerous substance could be a risk to the safety of people as a result of fires, explosions or similar energetic events.

- DSEAR is intended to protect not only employees at the workplace, but also any other person whether at work or not who may be put at risk by dangerous substances. This includes employees working for other employers, students, visitors to the site, members of the public. However, when considering arrangements to deal with accidents, incidents and emergencies and the provision of information, instruction and training, employers only have duties to persons who are at their workplace.

The arrangements necessary to fulfil this policy are set out in the guidance section of this document and in Appendix 1 - DSEAR risk assessment form.

1.2	Key legislative requirements

In order to ensure compliance University Departments are required to:

- Carry out a risk assessment of any work activities involving dangerous substances;

- Provide technical and organisational measures to eliminate or reduce as far as is reasonably practicable the identified risks;

- Provide equipment and procedures to deal with accident and emergencies;

- Provide information and training to employees;

- Classify places where explosive atmospheres may occur into zones, and mark the zones where necessary.

N.B.

The impact of DSEAR should be small, as the risks to safety from fire and explosion will in many cases have been addressed by a general risk assessment of work activities in compliance with the Management of Health and Safety at Work Regulations 1999, and by the Regulatory Reform (Fire Safety) Order 2005 in respect of proper and sufficient escape routes, provision of fire fighting equipment, etc, as undertaken by the HS & E offices Fire Officer.

2	Duty Holders

2.1	Heads of Department/Heads of Support Services

Head of Department/Head of Service have responsibility for ensuring compliance with the Regulations in general but in particular that:

- risk assessment is undertaken

- any required risk reducing measures, emergency arrangements, etc, are implemented

- sufficient information and training is provided,

While responsibility lies with the duty holder, the task may be delegated to a supervisor, technical manager, or other designated responsible person (e.g. DSO) within the Department. Where this occurs it should be made explicit in the departmental safety policy.

N.B. Heads of Department/Support Services are also duty holders under the University Fire Policy

2.2	Fire Officer

The University Fire Officer has responsibility for:

- providing advice to departments at their request concerning fire risks arising from departmental processes and use of buildings.

- providing advice to departments at their request concerning suitable emergency arrangements.

- providing fire training as appropriate

N.B.  The University Fire Officer is also a duty holder under the University Fire Policy

2.3	Health, Safety and Environment Office

The Health, Safety and Environment has responsibility for:

- Monitoring compliance with this policy

- Reviewing and amending the DSEAR policy

- Providing information and advice to Heads of Department or delegated officers

- Liaising with regulators such as the Petroleum Licensing Officer, HSE Environment Agency and Leicestershire Fire and Rescue Service

2.4	Estates

- The Estates department are responsible for their own dangerous substances.

- The Estates department shall provide technical assistance to other departments upon request to ensure that any measures necessary to protect against process fire risks are suitable and sufficient.

3	Guidance

3.1	Activities/dangerous substances to which DSEAR applies

The following activities and substances may be commonly found in the work situation within a university. The list is not exhaustive, but merely offered as example:

- Storage of petrol as a fuel for cars, motor boats, horticultural machinery, etc

- Use of flammable gases, such as acetylene, for welding

- Handling and storage of waste dusts in woodwork shops

- Handling and storage of flammable wastes including fuel oils

- Hot work on tanks or drums that have contained flammable material

- Work activities that could release naturally occurring methane

- Use of flammable solvents in laboratories

- Storage of flammable goods, such as paints, solvents, reagents

- Storage, use and handling of flammable gases, including LPG

- Transport of flammable liquids in containers around the workplace

- Chemical/gas manufacture, resulting from process or research experiment

DSEAR is concerned with the harmful physical effects from thermal radiation (burns), over-pressure-effects (blast injuries) and oxygen depletion effects (asphyxiation) arising from fire or explosion.

3.2	Determining the presence of dangerous substances

You should undertake the following:

3.2.1	Check whether the substances have been classified under the Chemicals (Hazard Information and Packaging for Supply) Regulations 2002 (CHIP) as: explosive, oxidising, extremely flammable, highly flammable or flammable.  When dangerous/hazardous substances are supplied for use at work, suppliers must provide you with safety data sheets and these should identify whether the chemical is classified under the CHIP Regulations as flammable, oxidising, etc. Another source of information is HSE's Approved Supply List (L129 7th Edition). This is a list prepared by the HSE, which lists many commonly used substances and their classification. If a substance or preparation is classified as explosive, oxidising, extremely flammable, highly flammable or flammable then it is a dangerous substance. The HS & E office holds a copy of the Approved list and queries regarding this should be made by email to HSE@lboro.ac.uk or telephone 01509 222181..
  
In the case of proprietary substances purchased from a supplier, and classified under CHIP, the packaging in whatever form (cylinder, drum, bottle, tin, or box) should contain warning pictograms (black on orange) denoting the safety hazard, this is often the most easily noted warning that a substance is dangerous. The packaging may also include EU risk phrases e.g. "R9 - explosive when mixed with combustible material".

3.3.2	Assess the physical and chemical properties of the substance or preparation and the circumstances of the work involving those substances to see if that can create a safety risk to persons from an energetic event. This is particularly important in order to identify dangerous substances that may only arise as a result of a work process. These may be vapours or gases produced during a laboratory technique, substances that decompose, or react exothermically, when mixed with other substances e.g. peroxides. Wood, and many other dusts may be dangerous substances, depending on the circumstances of the work, as when the dust is mixed in a cloud with air it can, in certain circumstances, be ignited and explode. Work activities involving grinding or machining are particularly prone to this risk.
  
The key point here is that it is the combination of the properties of the substance and the circumstances of the work process that needs to be assessed. If the assessment shows that there is a safety risk to persons arising from a fire, explosion or other energy-releasing event then the substance is a dangerous substance for DSEAR purposes.

3.4	Risk assessment

- If dangerous substances are identified as being present in the workplace DSEAR requires employers (or the self-employed) to carry out a risk assessment before commencing any new work activity involving dangerous substances.

- The purpose of the risk assessment is to enable employers to decide what they need to do in order to eliminate or reduce so far as is reasonably practicable the safety risks from dangerous substances and ensure that these safety control measures are implemented. Therefore imbedded within DSEAR is the well-understood safety-hierarchy synonymous with other Regulations of AVOIDANCE / ELIMINATION, or CONTROL / MITIGATION

(Note; a model risk assessment form is attached as Appendix 1.)

3.5	Elimination

Elimination is the best solution and must be considered first. This involves replacing a dangerous substance with a substance or process that totally eliminates the risk by avoiding exposure to the hazard. In practice this may be somewhat difficult to achieve and it is more likely that it will be possible to replace the dangerous substance with one that is less hazardous (e.g. by replacing a low flashpoint solvent with a high flashpoint one) or to design the process so that it is less dangerous - for example, by reducing quantities of substances in the process, this is known as process intensification. However care must be taken whilst carrying out these steps so as to ensure that no other new safety or health risks are created or increased.

3.6	Control measures

DSEAR requires that control measures be applied in the following order of priority consistent with the risk assessment and appropriate to the nature of the activity or operation:

- Reduce the quantity of dangerous substances to a minimum

- Avoid or minimise releases

- Control releases at source

- Prevent the formation of an explosive atmosphere

- Collect, contain and remove any releases to a safe place (e.g. by ventilation)

- Avoid ignition sources

- Avoid adverse conditions (e.g. exceeding the limits of temperature or control settings) that could lead to danger

- Keep incompatible substances apart

Measures that mitigate the risk must be applied and these should likewise be consistent with the risk assessment and appropriate to the nature of the activity or operation, these should include:

- Reducing the numbers of employees exposed

- Providing plant which is explosion resistant

- Providing explosion suppression or explosion relief equipment

- Taking measures to control or minimise the spread of fires or explosions

- Providing suitable Personal Protective Equipment (PPE)

DSEAR also specifies that the measures taken to achieve the elimination or the reduction of risk should include:

- Design, construction and maintenance of the workplace (e.g. fire-resistance, explosion relief)

- Design, assembly, construction, installation, provision, use and maintenance of suitable work processes, including all relevant plant, equipment, control and protection systems

- The application of appropriate systems of work including: written instructions, permits to work and other procedural systems of organising work

DSEAR also requires the identification of hazardous contents of containers and pipes.

Many will already be marked or labelled under existing EC legislation. For those that are not, `identification' could include training, information or verbal instruction, but some may require labelling, marking or warning signs.

3.7	Additional requirements for explosive atmospheres

In places where your risk assessment indicates that explosive atmospheres may occur you should ensure that:

- areas where hazardous explosive atmospheres may occur are classified into zones based on their likelihood and persistence, and in accordance with Schedule 2 to the Regulations;

- areas classified into zones are protected from sources of ignition by selecting equipment and protective systems meeting the requirements of the Equipment and Protective Systems Intended for Use in Potentially Explosive Atmospheres Regulations 1996, although equipment already in use before 1 July 2003 can continue to be used indefinitely provided the risk assessment shows it is safe to do so;

- where necessary, areas classified into zones are marked with a specified "EX" sign at their points of entry (see example on page 9);

- where employees work in zoned areas they are provided with appropriate clothing that does not create a risk of an electrostatic discharge igniting the explosive atmosphere;

- before coming into operation for the first time, areas where explosive atmospheres may be present are confirmed as being safe (verified) by a person (or organisation) competent in the field of explosion protection. The person carrying out the verification must be competent to consider the particular risks at the workplace and the adequacy of control and other measures put in place.

Guidance on the classification and zoning of areas where potentially explosive atmospheres may occur, and the selection of equipment for use in those areas can be found at http://www.hse.gov.uk/fireandexplosion/atex.htm

3.8	Arrangements to deal with accidents, incidents and emergencies

DSEAR requires that employers make arrangements to protect employees (and others who are at the workplace) in the event of accidents etc. The provisions build on existing requirements in Regulation 8 of the Management Regulations and require employers to make arrangements including:

- Suitable warning (including visual and audible alarms) and communication systems

- Escape facilities - if required by the risk assessment

- Emergency procedures to be followed in the event of an emergency

- Equipment and clothing for essential personnel dealing with the incident

- Practice drills

- Making information on the emergency procedures available to employees

- Contacting the emergency services to advise them that information on emergency procedures is available (and providing them with any information they consider necessary)

The scale and nature of the emergency arrangements should be proportionate to the risks.

However it should be noted that these requirements clarify what already needs to be done in relation to the safety management of dangerous/hazardous substances in existing legislation e.g. the Management of Health and Safety at Work Regulations 1999, the Control Of Substances Hazardous to Health Regulations 2002, the Fire Precautions (Workplace) Regulations1997/99, the regulatory reform (Fire Safety) Order 2005, and the Fire Precautions Act 1971 and associated Codes of Practice, and therefore should not require any additional duties to those already present in complying with this existing legislation.

In this University all aspects of fire safety regarding designated petroleum spirit stores, including annual risk assessment and inspection, is undertaken by the Department concerned and HS & E office. Any queries regarding this should be addressed to HSE@lboro.ac.uk or tel 0159 222181.

3.9	Information, instruction and training

Employers are required to provide employees and other people at the workplace who might be at risk with suitable information, instruction and training on precautions and actions they need to take to safeguard themselves and others, including:

- Names of the substances in use and risks they present

- Access to any relevant safety data sheet

- Details of legislation that applies to the hazardous properties of those substances

- The significant findings of the risk assessment

- Suitable information, instruction and training on precautions and actions to be taken by employees to safeguard themselves and others.

Employers should also make information available to employee representatives.

Information, instruction and training need only be provided to non-employees where it is required to ensure their safety. Where it is provided, it should be in proportion to the level and type of risk.

Again, much of this is already required by existing health and safety legislation and should not place any additional burden upon Departments or Services.

3.10	Recording the significant findings of the risk assessment

DSEAR requires that the significant findings of the risk assessment are recorded. The detail should include:

- The measures (technical and organisational) taken to eliminate and/or reduce risk,

- Sufficient information to show that the workplace and work equipment will be safe during operation and maintenance including:

  - details of any hazardous zones

  - any special measures taken to ensure co-ordination of safety measures 	and procedures, when employers share a workplace

- Measures taken to inform, instruct and train employees.

3.11	Petroleum spirit stores and legislation

Departments which have dedicated petroleum spirit stores will be aware that the keeping of petrol is controlled under a licensing regime enforced by Trading Standards at Leicestershire County Council under the Petroleum (Consolidation) Act 1928. However, the DSEAR Regulations apply to petrol and therefore duplicate these controls, accordingly the licensing requirements for petrol have been removed, save that for petrol, that is being kept for dispensing into vehicles.

In this University all aspects of safety regarding designated petroleum spirit stores, is being undertaken by Departments and the HS & E’s Fire Officer. Any queries regarding this should be addressed to HSE@lboro.ac.uk or tel. 01509 222181. Example of a warning sign required for places where explosive atmospheres may occur.

Such signs must be:

a ) 	triangular in shape,

b)  	they must have black on a yellow background with black edging

c) 	the yellow portion must take up at least 50% of the area of the sign.

4.	Definitions

a)	The  Dangerous Substances and Explosive Atmospheres Regulations 	(DSEAR) 2002

These regulations came into force on 9th December 2002. (The Statutory Instrument can be seen at; www.opsi.gov.uk/si/si2002/uksi_20022776_en.pdf). These Regulation implement the Explosive Atmospheres (ATEX 137) Directive and safety requirements of the Chemical Agents Directive (CAD). ATEX requires employers to protect workers from the risks from explosive atmospheres. CAD requires employers to protect workers from certain health and safety risks arising from chemical agents present in the workplace and from work activities involving chemical agents. DSEAR deals with both Directives.

b)	`Workplace' means any premises, or part thereof, used for work, this includes all industrial, commercial and educational premises, vehicles, vessels, roads, houses and other domestic dwellings, and common parts of buildings.

c)	Extract from Loughborough University Fire Policy – Duty holders

Heads of Departments and Support Services

Heads of Departments and Support Services have responsibility for the day to day running of their departments and therefore are designated as DUTY HOLDERS for fire safety matters under their control. In particular, Heads of Department and Heads of Support Services must ensure that fire hazards are managed appropriately and that activity within the department, particularly the use or storage of dangerous substances, does not create or exacerbate a fire risk.

Where premises are occupied jointly, Heads of Department and Heads of Support

Services are responsible for cooperating with fellow duty holders insofar as this affects areas under their joint control.

Heads of Department and Heads of Support Services receive reports and assessment findings from the Fire Officer and are responsible for implementing action plans to remedy any noted deficiencies.

In discharging their duties, Heads of Department and Heads of Support Services may appoint members of staff as departmental safety officers to assist with carrying out fire safety tasks.

The Fire Officer

The Fire Officer has the technical and practical knowledge to assess, investigate and

report on fire hazards associated with the infrastructure of university property. The Fire Officer is designated as the COMPETENT PERSON and he/she acts on behalf of the Vice Chancellor in discharging these duties.

5	Further reading/references

- 7 Steps to successful substitution of hazardous substances, HSG 110, HSE Books 1994 ISBN 0 7176 0695 3.

- Process Intensification, DTI Guide, DTI Publications Unit

- Equipment and Protective Systems for Use in Potentially Explosive Atmospheres Regulations 1996 (as amended), Statutory Instrument 192, 1996 text available at: http://www.opsi.gov.uk/si/si1996/Uksi_19960192_en_1.htm

- Energetic and spontaneously combustible substances: Identification and safe handling HSG131 HSE Books 1995 ISBN 0 7176 0893 X

- Safe handling of combustible dusts: Precautions against explosions HSG103 HSE Books 2003 ISBN 0 7176 2726 8

- Safe use and handling of flammable liquids HSG140 HSE Books 1996 ISBN 0 7176 0967 7

- The storage of flammable liquids in containers HSG51 (second edition) HSE Books 1998 ISBN 0 7176 1471 9

- Use of LPG in small bulk tanks Chemical Information Sheet CHIS 4 HSE Books 1999

- Small-scale use of LPG in cylinders Chemical Information Sheet CHIS 5 HSE Books 1999 http://www.hse.gov.uk/pubns/chis5.pdf

- Keeping of LPG in cylinders and similar containers LPGA Cop 7 (replaces CS 4, HSE Books ISBN 0 7176 0631 7)

- Fire safety: An employer's guide (Home office, Scottish Executive, Department of the Environment (Northern Ireland) for HSE) HMSO 1999 ISBN 0 11 341229 0

- Fire and explosion - How safe is your workplace? A short guide to the Dangerous Substances and Explosive Atmospheres Regulations 2002 INDG370 HSE Books  http://www.hse.gov.uk/pubns/indg370.pdf

- Safe Working with Flammable Substances, INDG227, HSE Books 2002 http://www.hse.gov.uk/pubns/indg227.pdf

- Unloading petrol from road tankers DSEAR ACOP & guidance L133 HSE books ISBN 0 7176 2197 9

- Design of plant, equipment and workplaces DSEAR ACOP & guidance L134 HSE books ISBN 0 7176 2199 5

- Storage of dangerous substances DSEAR ACOP & guidance L135 HSE books ISBN 0 7176 2200 2

- Control and mitigation measures DSEAR ACOP & guidance L136 HSE books ISBN 0 7176 2201 0

- Safe maintenance, repair and cleaning procedures DSEAR ACOP & guidance L137 ISBN 0 7176 2202 9

- DSEAR ACOP & guidance L138 HSE books ISBN 0 7176 2203 7

- Potentially Explosive Atmospheres (ATEX) and DSEAR – Frequently asked questions HSE books

- Potentially Explosive Atmospheres (ATEX) and DSEAR – Hazardous Area Classification and Laboratory Operations HSE books

- Inspection of workplace storage & dispensing of Petroleum Spirit and liaison with Petroleum licensing authorities HELA LAC 65 (HSE)

- The Storage of Flammable Liquids in tanks HS(G) 176 HSE books ISBN 07176 1470

Appendix 1

DSEAR  Risk assessment and safe system of work pro forma

If the substance(s) that you are working with, handling or storing is flammable, extremely flammable, highly flammable, oxidising, explosive, or capable of producing an explosive atmosphere, this further section of the risk assessment process must be addressed.

If a proprietary product, does the hazard information contained within the Material Safety Data Sheet, or on the labelling on the product packaging denote that it is (tick box):

Explosive        Oxidising         Extremely flammable          Highly flammable           Flammable

or, has a flash point lower than 32oC

or, that release of vapour/gas may produce an explosive atmosphere

If a substance is produced as a result of an in-house process, or as a bi-product of such a process, is that substance (tick box):

Explosive	 Oxidising         Extremely flammable	       Highly flammable 	       Flammable

or, have a flash point lower than 32oC

or, could release of vapour/gas/dust produce an explosive atmosphere  Yes	  No

If No has been answered to all of the above questions you may terminate the risk assessment at this point, otherwise continue:

Note here names of product, or substance being handled, stored, or produced:

Note here how a work system, or activity could fail and give rise to fire or explosion, also note any sources of ignition:

Control measures (circle answer as appropriate)

Process / Activity

Where appropriate to the nature of the activity or operation:

Has the quantity of the dangerous substance held/used been reduced to a minimum?

Yes	No

Have steps been taken to avoid, or minimise releases (intentional or unintentional)?

Yes	No

Have steps been taken to control releases at source?

Yes	No

Have steps been taken to prevent the formation of an explosive atmosphere?

Yes 	No	N/A

Have steps been taken to collect, contain and remove any releases to a safe place (e.g. by ventilation)?

Yes	No

Control measures (cont)

Have steps been taken to avoid adverse conditions (e.g. Exceeding the limits of temperature or other control settings)?

Yes	No	N/A

Are incompatible substances kept apart in storage and, so far as is practicable, in use (e.g. oxidisers and combustibles)?

Yes 	No

Have the number of employees exposed to the dangerous substances or explosive atmosphere been reduced to the minimum?

Yes	No

Has plant been supplied that is explosion resistant?

Yes	No	N/A

Is explosion suppression or relief provided on equipment?

Yes	No	N/A

Have adequate measures been taken to control or minimise the spread of fire, or explosion?

Yes	No

Has suitable personal Protective Equipment (PPE) been provided, and have operatives been trained how to wear it correctly?

Yes	No	N/A

Workplace/process and management system

Where appropriate to the nature of the activity or operation:

Is the workplace designed, constructed and maintained so as to provide adequate fire-resistance and/or explosion relief?

Yes	No

Is any assembly, construction, installation, rig, plant, equipment, protection system, etc., designed in such a manner as to minimise risk of fire and/or explosion?

Yes	 No

Is any such assembly, construction, installation, rig, plant, equipment, protection systems, etc., used in such a manner as to minimise risk of fire and/or explosion?

Yes	No

Have appropriate safe systems of work, or other required procedural systems of organising work, been developed and communicated to the workforce, either by way of this form or another document?

Yes	No

Is a permit to work scheme required for working with the substance(s), or in the work area, and are these strictly enforced?

Yes	No

In the case of explosive atmospheres; (if not applicable tick here and proceed to storage)

Have all such areas been classified in to zones in accordance with Schedule 2 to the Regulations?

Yes	 No

Where necessary have such classified zones been marked at their entry points with the specified ‘EX’ hazard warning sign?

Yes	 No	N/A

Are all areas classified into such zones appropriately protected from sources of ignition, through the selection of equipment and protective systems compliant with the Equipment and Protective Systems Intended for Use in Potentially Explosive Atmospheres Regulations 1996?

Yes	No

Are employees working in zoned areas provided with clothing that does not create a risk of electrostatic discharge?

Yes	No

Have areas where explosive atmospheres may be present, before their first operation, been verified as being safe by a person, or organisation competent in the field of explosion protection?

Yes	No

Storage

Are all flammable substances kept in suitable fire resistant storage and are all quantities in excess of 50ltrs kept in dedicated and appropriately protected flammable stores?

Yes	No

Are all petroleum spirits, or derivatives thereof, in excess of 50ltrs kept in dedicated and appropriately protected petroleum spirit stores?

Yes	No

Are incompatible substances stored apart (e.g. flammables, oxidisers, combustibles, flammable gases, LPG)?

Yes	No

Where appropriate have storage areas been designed to provide explosion relief/resistance?

Yes	No	N/A

Emergency procedures

Have suitable emergency procedures been developed and communicated to the workforce to deal with adverse process conditions (e.g. exceeding limits of temperature, or other control settings)?

Yes	No	N/A

Have suitable emergency procedures been developed and communicated to the workforce to deal with fire and evacuation?

Yes	No

Have suitable emergency procedures been developed and communicated to the workforce to deal with the spillage of dangerous substances?

Yes	No

Waste disposal

Have suitable procedures been developed, communicated to the workforce and implemented to deal with the safe transport and disposal of dangerous substances?

Yes	No

Information, instruction & training

Has appropriate information, instruction and training, commensurate with the hazard potential of the dangerous substances, or process, been provided to the workforce as regards; product detail, hazard, risk reduction methods to be employed, management systems to be followed, emergency systems, etc.?

Yes	No

Are only trained and competent persons involved in work with dangerous substances?

Yes	No

Where any question relevant to a dangerous substance being used, produced, handled or stored has returned a No response, the subject area should be revisited to ensure that all required and reasonably practicable risk reducing measures have been implemented.

Conclusion

The risk(s) from the hazard potential of the dangerous substances and/or explosive atmospheres identified in this risk assessment must be reduced to the lowest level reasonably practicable, are you satisfied that this is the case? 	Yes	No

Name of assessor                                                    Signature

Date assessment undertaken		          Date review required

Safe System of Work (to be communicated to the relevant workforce)

As a result of risk assessment of the work process involving the following dangerous substance(s)

this including their handling, storage and ability, in the form that they present in the work situation, to result in an explosive atmosphere, the following safe system of work (rules of work) must be observed and adhered to at all times.

(Continue on another sheet if required)

In the event of an emergency situation actions laid out in the safe system of work that are designed to minimise damage to equipment or property should only be undertaken if this does not put yourself or others at significant risk, personal safety and that of others must take priority.

I have read and understood the above safe system of work.

| Signature | Date |
| --- | --- |

# Text boxes

EX