SAF09-P13

10 June 2009

Policy and guidance on the safe use and storage of compressed gases

______________________________________________________________

Contents						    Page number

1. Policy							    2

2. Key	 legislative requirements				    2

3. Duty holders						    3

4. Definitions						    4

5. General guidance					    4

5.1. Introduction						    4

5.2. Uses of gases cylinders				    5

5.3. The main hazards					    5

5.4. The main causes of accidents			    5

5.5. How to reduce the risks				    5

5.5.1. Training

5.5.2. Manufacture and initial examination

5.5.3  Periodic examination

5.5.4. Handling and use

5.5.6. Transport

5.5.7. Storage

6. Risk assessment guidance				    8

7. Technical references and further reading 		   14

Contents cont.					    Page number

Appendix 1							   15

Gas pressure regulators inspection maintenance checklist

Appendix 2							   17

Risk assessment for an activity involving compressed gases

______________________________________________________________

1. Policy

Loughborough University attaches the greatest importance to the health, safety and welfare of its employees, students and visitors, and in particular, recognises the significance of the risks to health caused by the use, handling and storage of compressed gases at work.

It is the policy of Loughborough University to take all reasonable steps to secure the health and safety of anyone who works with compressed gases.

No work will be undertaken which is liable to expose any employees, students or visitors to risks from the use, handling and storage of compressed gases, unless a risk assessment has been carried out.

2. Key legislative requirements

The Health and Safety at Work etc Act 1974; places general duties on employers towards their employees and members of the public, and, duties that employees have to themselves and to each other.

The Management of Health and Safety at Work Regulations 1999; require employers to carry out risk assessments, make arrangements to implement necessary measures, appoint competent people and arrange for appropriate information and training.

The Control of Substances Hazardous to Health Regulations 2002; requires employers to assess the risks from hazardous substances and take appropriate precautions.

The Dangerous Substances and Explosive Atmospheres Regulations 2002; requires employers to carry out a risk assessment of work activities involving dangerous substances.

The Provision and Use of Work Equipment Regulations 1998; requires that equipment provided for use at work is safe.

The Manual Handling Operations Regulations 1992; covers the moving of objects by hand or bodily force and requires manual handling tasks to be risk assessed and controlled.

The Carriage of Dangerous Goods and Use of Transportable Pressure Equipment Regulations (“ the Carriage Regs”) 2004; impose requirements and prohibitions in relation to the carriage of dangerous goods by road (and rail) and lay down standards of design, manufacture, testing and marking that manufacturers must comply with.

The Confined Space Regulations 1997; require an assessment to be made of the risks to workers from working in confined spaces

The Pressure Equipment Regulations (“PER”) 1999; apply to the design and construction aspects of pressure equipment intended to contain a gas or liquid at 0.5 bar gauge or above.

3. Duty holders

3.1	Heads of Departments/Heads of Support Services

Heads of Departments/Heads of Services have responsibility for ensuring compliance with the Regulations in general but in particular that:

- risk assessments are undertaken

- any required risk reducing measures, emergency arrangements, etc, are implemented

- sufficient information and training is provided.

While responsibility lies with the duty holder, the task may be delegated to a supervisor, technical manager, or other designated responsible person (e.g. Departmental Safety Officer) within the Department. Where this occurs it should be made explicit in the departmental safety policy.

N.B. Heads of Departments/Support Services are also duty holders under the University fire safety policy

3.2	Health, Safety and Environment (“HS & E”) office

The HS & E office has responsibility for:

- Monitoring compliance with this policy,

- Reviewing and amending University safety policies,

- Providing information and advice to Heads of Department or delegated officers.

3.3	Facilities Management (FM)

- FM are responsible for their own compressed gas cylinders.

- FM shall provide technical assistance to other departments upon request to ensure that any measures necessary to protect against process fire risks are suitable and sufficient.

4. Definitions

Compressed Gas: a non-flammable material or mixture having in the container a pressure exceeding 41 psia (3 bar) at 70°F (21°C), or any flammable or poisonous material that is a gas at 70°F (21°C) and has a pressure of 14.7 psia (1 bar) or greater. Most compressed gases will not exceed 2,000 to 2,640 psig (138 to 182 bar), though some do go up to 6,000 psig (414 bar).

Nonliquefied Compressed Gas: Chemical or material, other than gas in solution, that under the charged pressure is entirely gaseous at a temperature of 70°F (21°C).

Liquefied Compressed Gas: Chemical or material that, under the charged pressure, is partially liquid at a temperature of 70°F (21°C).

Compressed Gas in Solution: A non liquefied compressed gas that is dissolved in a solvent.

5. General guidance

5.1 Introduction

Accidents involving gas cylinders can cause serious injury or even death. This guidance provides simple practical advice on eliminating or reducing the risks associated with using gas cylinders. The guidance is aimed at anyone who uses, handles and/or stores gas cylinders at work.

The legal term that covers gas cylinders is “pressure receptacle”, (or “pressure vessel”). This is a generic term covering a number of types of pressure receptacle: cryogenic receptacle, bundle of cylinders as well as cylinders themselves, plus the valve(s) fitted directly to the receptacle. But for the purpose of this guidance, the term “gas cylinder” shall be taken to mean all the various types of pressure receptacle.

Gas cylinders used in adverse or extreme conditions, such as for breathing apparatus, may require special precautions. Although the advice in this guidance is valid for all uses of gas cylinders, these special precautions, such as different frequencies for periodic inspections, are not covered.

As an employer Loughborough University has a duty to provide a safe workplace and safe work equipment. Designers, inspectors, manufacturers, suppliers, users and owners also have duties.

Employers have a further duty to consult any safety or employee representatives on health and safety matters. Where none are appointed, employers should consult the workforce directly.

5.2 Uses of Gas Cylinders

Gas cylinders are a convenient way to transport and store gases under pressure. These gases are used for many different purposes including:

- chemical processes;

- soldering, welding and flame cutting;

- breathing (eg diving, emergency rescue);

- medical and laboratory uses;

- dispensing beverages;

- fuel for vehicles (eg fork-lift trucks);

- extinguishing fires;

- heating and cooking;

- water treatment.

5.3 The main hazards:

- impact from the blast of a gas cylinder explosion or rapid release of compressed gas;

- impact from parts of gas cylinders or valves that fail, or any flying debris;

- contact with the released gas or fluid (such as chlorine);

- asphyxiation from the release of inert gases;

- fire resulting from the escape of flammable gases or fluids (such as liquefied petroleum gas);

- impact from falling cylinders;

- manual handling injuries;

5.4 The main causes of accidents:

- inadequate training and supervision;

- poor installation;

- poor examination and maintenance;

- faulty equipment and/or design (e.g. badly fitted valves and regulators);

- poor handling;

- poor storage;

- inadequately ventilated working conditions;

- incorrect filling procedures;

- hidden damage.

5.5 How to reduce the risks

All gas cylinders must be designed and manufactured to an approved standard, to withstand everyday use and to prevent danger, (the “Carriage Regulations”). They must be initially inspected before they are put into service to ensure they conform to the approved standard, and be periodically examined at appropriate intervals to ensure that they remain safe while in service. To reduce the risks of failure you need to know, and act on, the

following precautions.

5.5.1 Training

Anyone who examines, refurbishes, fills or uses a gas cylinder, should be suitably trained and have the necessary skills to carry out their job safely. They should understand the risks associated with the gas cylinder and its contents. In particular:

- new employees should receive training and be supervised closely;

- users should be able to carry out an external visual inspection of the gas cylinder, and, any attachments (eg valves, flashback arresters, and regulators), to determine whether they are damaged. Visible indicators may include dents, bulges, evidence of fire damage (scorch marks) and severe grinding marks etc.

- valves should only be removed by trained personnel using procedures that ensure that either the cylinder does not contain any pressure or that the valve is captured during the removal process.

5.5.2 Manufacture and initial examination

The law requires that gas cylinders are:

- manufactured to an appropriate standard approved under the relevant legislation (“the Carriage Regs” or “PER”); and,

- examined by a relevant inspection body (a person or body notified or approved by the Health and Safety Executive (HSE) or the Department of Trade and Industry (DTI) under the “Carriage Regs” or “PER”), to verify that the cylinders are manufactured correctly and conform to the appropriate design standard.

Owners and fillers should satisfy themselves that the manufacturing requirements have been carried out by examining either:

- the written certificate which accompanies the gas cylinder; or,

- the stamp or mark of the relevant inspection body on the gas cylinder itself.

5.5.3 Periodic examination

The law requires that all gas cylinders and valves are:

- examined and tested by an appropriate inspection body, in accordance with relevant regulations and at specified intervals, (examination and testing to be carried out in accordance with Chapter 6.2 of the European Agreement concerning the international carriage of dangerous goods by road, (ADR), or its rail equivalent (RID) and at the intervals specified in the relevant packing instruction; and,

- permanently marked by an appropriate inspection body to show the date of the last periodic examination.

Standards for periodic inspection and testing of cylinders and valves, and for

specification and testing for closures, can be found on the HSE web site at

http://www.hse.gov.uk/cdg/pressure.htm

5.5.4 Handling and Use

- Use gas cylinders in a vertical position, unless specifically designed to be used otherwise.

- Securely restrain cylinders to prevent them falling over.

- Always double check that the cylinder/gas is the right one for the intended use.

- Before connecting a gas cylinder to equipment or pipe work make sure that the regulator and pipe work are suitable for the type of gas and pressure being used.

- When required, wear suitable safety shoes and other personal protective equipment when handling gas cylinders.

- Do not use gas cylinders for any other purpose than the transport and storage of gas.

- Do not drop, roll or drag gas cylinders,

- Close the cylinder valve and replace dust caps when a gas cylinder is not in use.

- Where appropriate, fit cylinders with residual pressure valves (non-return valves) to reduce the risk of back flow of water or other materials into the cylinder during use that might corrode it,

- Ensure that the valve is protected by a valve cap or collar or that the valve has been designed to withstand impact if the cylinder is dropped.

5.5.5 Lifting

- Use suitable cradles, slings, clamps or other effective means when lifting cylinders with a hoist or crane.

- Do not use valves, shrouds and caps for lifting cylinders unless they have been designed and manufactured for this purpose.

- Gas cylinders should not be raised or lowered on the forks of lift trucks unless adequate precautions are taken to prevent them from falling.

5.5.6 Transport

- Fit suitable protective valve caps and covers to cylinders, when necessary, before transporting. Caps and covers help prevent moisture and dirt from gathering in the valve of the cylinder, in addition to providing protection during transport.

- Securely stow gas cylinders to prevent them from moving or falling. This is normally in the vertical position, unless instructions for transport state otherwise.

- Disconnect regulators and hoses from cylinders whenever practicable.

- Do not let gas cylinders project beyond the sides or end of a vehicle (eg fork-lift trucks).

- Ensure gas cylinders are clearly marked to show their contents and the danger signs associated with their contents.

- It may be necessary to take special measures with certain types and quantities of compressed gases and fluids in order to ensure their safe carriage. If you have any doubts seek further guidance from the HS & E office on 2181.

The transport of gas cylinders is subject to carriage requirements. For example, that:

- the vehicle is suitable for the purpose;

- the vehicle is suitably marked to show that it is carrying dangerous goods;

- the driver is suitably trained; and

- the driver carries the appropriate documentation about the nature of the gases being carried.

5.5.7 Storage

- Gas cylinders should not be stored for excessive periods of time. Only purchase sufficient quantities of gas to cover short-term needs.

- Rotate stocks of gas cylinders to ensure first in is first used.

- Store gas cylinders in a dry, safe place on a flat surface in the open air. If this is not reasonably practicable, store in an adequately ventilated building or part of a building specifically reserved for this purpose.

- Gas cylinders containing flammable gas should not be stored in part of a building used for other purposes.

- Protect gas cylinders from external heat sources that may adversely affect their mechanical integrity.

- Gas cylinders should be stored away from sources of ignition and other flammable materials.

- Avoid storing gas cylinders so that they stand or lie in water.

- Ensure the valve is kept shut on empty cylinders to prevent contaminants getting in.

- Store gas cylinders securely when they are not in use. They should be properly restrained, unless designed to be freestanding.

- Gas cylinders must be clearly marked to show what they contain and the hazards associated with their contents.

- Store cylinders where they are not vulnerable to hazards caused by impact, e.g. from vehicles such as fork-lift trucks.

- Display appropriate signage in areas where cylinders are stored, (and used).

6. Risk assessment guidance

This guidance should be used to assist in the completion of risk assessments for activities involving compressed gases. The guidance is also aimed at laboratory activities involving compressed gases and therefore does not cover bulk storage issues. The basic principles of risk assessment are outlined in the HSE leaflet: “Five steps to risk assessment” (INDG 163).

# STEP 1. Identification of hazards

The main hazards associated with compressed gases are:-

- impact from the blast of a gas cylinder explosion or rapid release of compressed gas. (This could happen irrespective of the type of gases involved.)

- impact from parts of gas cylinders that fail or any flying debris. (As above).

- contact with the released gas. Specific hazards will vary according to the nature of the gas but inhalation and skin / eye contact are all issues. Non-toxic, non-corrosive gases may cause asphyxiation if they are able to displace oxygen from the local atmosphere, therefore ventilation may be an issue.

- fire resulting from the escape of flammable gas. Leaking flammable gases such as hydrogen may ignite and result in a fire. You will need to record in the risk assessment the types of flammable gases used.

- impact from falling cylinders. This may occur during transit or during storage if not properly secured.

Some hazards are common to all types of cylinder, (e.g. sudden release, impact), whilst others (e.g. toxic, flammable),are specific to certain types of gas. It will be necessary therefore to note what types of gases or gas mixtures are used, where they are located and how they are moved between locations.

# STEP 2. Identification of people who may be at risk

The risk assessment should identify those who may be at risk. The people directly involved in using the gases are usually at most risk, though others could be affected, e.g. other workers in the vicinity, (a large fire or leak of toxic gas could affect those in a wide area), students, cleaners, maintenance staff and contractors. (Are they introducing additional risks by being there e.g. hot works?), and other visitors. Controls introduced should give priority to protecting the whole workplace and everyone who works there e.g. give collective protective measures priority over individual measures. (Reg. 4 Management of Health and Safety at Work Regulations 1999).

STEP 3. Evaluation of existing control measures - are they adequate or does more need to be done?

## Further assessment

If using toxic or corrosive gases, a separate risk assessment under the Control of Substances Hazardous to Health Regulations 2002 (as amended), should be carried out. If manual handling of cylinders is required, a separate assessment is necessary under the Manual Handling Operations Regulations 1992. Regarding manual handling, the following points should be considered:

- the material safety data sheet (MSDS) may be used to establish the mass and dimensions of the cylinder.

- establish hand gripping points before lifting - some cylinders have hand holds such as the valve guard.

- use suitable Personal Protective Equipment (PPE) e.g. durable clothing, gloves, eye protection, foot protection.

- use suitable cylinder trolleys.

- gain assistance if necessary.

If you have answered ‘no’ to any of the questions in Part 3 of the risk assessment form, it is likely that action will be necessary:

# Piped systems

Piped systems should be installed to a recognised standard e.g. the British Compressed Gases Association (BCGA) Code of Practice No.4:-“Industrial gas cylinder manifolds & distribution pipe work/pipelines (excluding Acetylene)”. Systems will vary in complexity, but whatever the case, they will require suitable maintenance either under the Pressure Systems Safety Regulations 2000 or the Provision and Use of Work Equipment Regulations 1998.  Users should also carry out weekly inspections. These, should be mainly visual inspections to determine that:-

- the equipment looks to be in good order, is being used correctly and all

necessary equipment is fitted.

- the manifold framework and chains are in good condition.

- the ‘pigtails’ are in good condition.

- the system is operating normally and no defects have been reported.

- the area is clean and is not being used as a general store.

- the regulators are correct for the gases and pressures being used.

- valves open and close correctly.

## Storage - keeping cylinders in laboratories

- keep the absolute minimum in laboratories.

- separate cylinders from populated workspaces.

- as far as possible, segregate oxidants from fuels.

- do not keep very toxic or pyrophoric gases indoors.

- ensure that area is adequately ventilated.

- ensure that area is adequately lit.

- gas detection and alarms should be seriously assessed.

- ensure that appropriate signage is present.

- ensure that cylinders are stored upright (unless they are specifically designed to be stored any other way) and are adequately restrained by chains or straps unless they are specifically designed to be free standing.

- avoid extremes of temperature, including direct sunlight.

- keep cylinders away from sources of ignition and other flammable materials.

# Storage - keeping cylinders in outside locations

Much of the above will apply. Ideally, industrial gases (oxygen, nitrogen, argon etc.) should be stored in a caged compound. The floor should be level, have adequate drainage and be of a construction that is able to support the weight. Some degree of weather protection is recommended – this would assist safe handling, avoid puddles, ice formation in cold weather etc.

## Medical gases

Medical gases are classified as medical products and should be stored in a dedicated area separated from non-medical cylinders. A well ventilated area within a building would be suitable – the area should be secure against unauthorised access and display appropriate signage. Large cylinders should be stored upright and smaller (or rounded base) cylinders on suitable racking (ideally between knee and shoulder height). Be aware that some medical gases can be affected by high and low temperatures – be familiar with the products that you are using. Stock rotation should be applied – use the oldest filling date first and do not use out of date cylinders.

# Regulators and accessories

You will need to ensure that you have the right regulator for the purpose. Your gas supplier will be able to specify the regulator that you need for your application and safety. REGULATORS ARE IMPORTANT - OBTAIN THE CORRECT EQUIPMENT AT THE OUTSET AND ENSURE ONGOING SAFETY WITH CARE AND MAINTENANCE.

- Inlet pressure - filled pressures of gas cylinders can vary. Ensure that the maximum rated inlet pressure of your regulators can cope.

- Outlet pressure - check that the regulator will deliver the right outlet pressure for your application (regulators vary in their outlet pressure).

- Material compatibilities - check whether the regulator contains any materials which may react or degrade with the gas you intend to pass through it.

- Consider fitting excess flow valves which isolate the gas supply in the event of a malfunction.

# Care and maintenance

- When purchasing a new regulator, make a note of the date of manufacture / purchase. Some suppliers sell regulators that are already tagged with a code, date and ‘do not use after’ date. If not, it is a good idea to attach a tag to the regulator that contains this information. Laminated tags / pouches are commercially available for this purpose.

Some existing regulators can be dated by examining the code imprinted on the reverse side. The code is explained in the following diagram:

If regulators are not coded and it is not possible to date them, then it is advisable that they are replaced. All new regulators should be sourced from reputable suppliers and conform to appropriate standards (e.g. BS, EN, ISO etc.).

- The lifetime of a regulator is 5 years (2 years for regulators used with corrosive gases). A regulator will age irrespective of the amount of use it is put to. Regulators that become damaged, contaminated or dysfunctional should be replaced as and when necessary.

- User checks should ideally be carried out each time prior to use – these are primarily visual: labelling, contamination, damage etc.

- Maintenance checks should be carried out annually by a competent person. There are commercially available services for this and also training courses on how to carry out inspections. A typical gas regulator inspection maintenance checklist is given in the Appendix 1.

- Suitable records of user and maintenance checks should be kept.

Personal Protective Equipment (PPE)

The following PPE may be required according to the circumstances:-

- Laboratory coats, goggles, face shields etc.

- Laboratory coats or overalls will protect clothing while moving cylinders.

- Stout gloves and safety footwear will protect the hands and feet while moving cylinders.

- Eye protection should be worn while changing regulators.

For certain specialist applications, full breathing apparatus may be required – the need for this should be determined by risk assessment. If breathing apparatus is required it must be adequately maintained and operated only by trained users.

All PPE should be adequately stored on hooks, in cupboards or in dedicated mountings (e.g. wall dispensers for safety spectacles, purpose built boxes for breathing apparatus) and not left lying around on bench tops where damage and contamination is a risk.

# Emergency procedures

Emergency procedures should be defined and users should be familiar with what to do in an emergency:

# Fire

- Operate the planned fire drill for the area in question. On arrival,  emergency services should be informed of the types of gases present in the area affected.

- If possible, isolate any piped supplies to the area affected but do not take any unnecessary risks.

- Cylinders may burst, vent or explode when subjected to extreme temperatures so avoid ‘first aid’ fire fighting (e.g. using extinguishers) unless the fire is small and can be dealt with very quickly. Err on the side of safety - if in any doubt, evacuate and leave to the professionals.

- It may be possible to cool cylinders with a hose from a safe distance – the emergency services will decide whether this is appropriate.

- Do not approach any cylinder which has been affected by fire. The emergency services and supplier (e.g. BOC) will deal with matters when safe to do so and the supplier will recover them for disposal.

# Leaks of toxic and corrosive gases

Supplies should be isolated if possible. If necessary, appropriate breathing apparatus should be worn. It is essential to include emergency procedures as part of the COSHH assessment for gases in these categories. First aid measures should also be considered.

### Information, instruction and training

All users of gases and cryogenics must receive adequate information, instruction and training.

- Formal training should be delivered by specialists in the gas and cryogenics industry. Check the HS & E office web pages for availability of training courses. The Department/Support Service should keep formal records of attendees at all training courses provided.

- On-the-job training and instruction and, if necessary, supervision, should be carried out by the department. Gas users should be fully involved in any risk assessment process.

# STEP 4. Record the findings

The risk assessment form represents a record of your findings, (see Appendix 2). You should file it in a safe place and be able to produce it when required. Part 4 of the form enables all actions to be noted and completion dates recorded. You should communicate all of your finding to the occupants of the laboratories.

# STEP 5. Review the assessment

Risk assessments will not remain valid for ever. There will invariably be changes to equipment, substances, physical layout etc. Therefore, the risk assessment must be reviewed periodically. A review is not required for every trivial change which may occur. The risk assessment form should be used to record the dates of any subsequent reviews.

7. Technical references and further reading

- The Carriage of Dangerous Goods and Use of Transportable Pressure Equipment Regulations 2004 (SI 568/2004 The Stationery Office 2004 ISBN 0 11 0490630).

- The Pressure Equipment Regulations 1999 (SI 1999/2001 The Stationery Office 1999 ISBN 0 11 082790 2)

- Safety of Pressure Systems, Pressure Systems Safety Regulations 2000, Approved Code of Practice, L122, HSE, 2000.

- Five steps to risk assessment INDG163(rev2) HSE Books 2006 ISBN 978 0 7176 6189 3)

- Industrial gas cylinder manifolds and distribution pipe work/pipelines (excluding Acetylene). CP4(rev3) Code of Practice BCGA 2005

- The safe use of oxy-fuel gas equipment (individual portable or mobile cylinder supply) CP7(rev4) Code of Practice BCGA 2004

- Guidance for the storage of transportable gas cylinders for industrial use Guidance Note GN2(rev3) BCGA 2005

(NOTE; The British Compressed Gas Association (BCGA) publish guidance notes, technical reports, codes of practice, leaflets and technical information sheets. A full list of documents and the contact details for the BCGA is available from the following link; BCGA Publications list.

- The Safe Use of Gas Cylinders, INDG308 (rev1), HSE Books, 2002

- Take care with Oxygen; fire and explosion hazards in the use of Oxygen HSE 8, HSE Books

- Take care with Acetylene INDG 327, HSE Books ISBN 0 7176 1817 X

- Safety in gas welding, cutting and similar processes INDG 297, HSE Books ISBN 0 7176 2473 0

- The safe use of compressed gases in welding, flame cutting and allied processes HSG139, HSE Books 1997 ISBN 978 0 7176 0680 1

(NOTE;HSE priced and free publications are available by mail order from: HSE Books, PO Box 1999, Sudbury, Suffolk CO10 2WA Tel: 01787 881165 Fax: 01787 313995 Website: www.hsebooks.co.uk HSE priced publications are also available from bookshops, and free leaflets can be downloaded from HSE’s website www.hse.gov.uk)

## Appendix 1

## Pressure regulator inspection maintenance checklist

Item Serial Number (s):__________________________

Department / Location:___________________________________________

Regulator type (one or two stage):__________________________________

Gas type(s):____________________________________________________

|  |  | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| 1. | Are standard operating procedures (SOP’s) in place covering the assembly and safe use of gas regulators and associated equipment in the workplace? |  |  |  |
| 2. | Have all operators been trained in the appropriate SOP’s? |  |  |  |
| 3. | Are the flashback arrestors subject to an asset register system? |  |  |  |
| 4. | Are inspection records available for all regulators? |  |  |  |
| 5. | Are all regulators in date (usually 5 years) and not overdue, (the manufacturers recommended), scheduled replacement? |  |  |  |
| 6. | Is the information clear to the equipment operators? Is the equipment labelled with the next inspection date? |  |  |  |
| 7. | Are the regulators labelled correctly with:- A; name of gas B; maximum inlet pressure C; maximum outlet pressure D; BS EN number E; Manufacturer/suppliers name or logo |  |  |  |
| 8. | Are the correct regulators being used for the gases contained within the cylinders? |  |  |  |
| 9. | Is the correct regulator type being used (bottom entry for BOC cylinders and side entry for cylinders supplied by other gas suppliers? |  |  |  |
| 10 | Are the regulators in good condition, with clean threads, free of contamination? |  |  |  |
| 11 | Are the gauges in good condition, lenses attached with indicators reading zero? |  |  |  |
| 12 | Is there evidence of any jointing compounds or thread tape (PTFE) on any of the fittings? |  |  |  |
| 13 | Are the regulators free from unauthorised repairs? |  |  |  |
| 14 | Are the regulators free from any heat and/or mechanical damage? |  |  |  |
| 15 | Are the pressure adjusting screws captive on regulators? |  |  |  |
| 16 | Are the correct tools on hand to fit regulators and other control equipment? (Not adjustable spanners) |  |  |  |
| 17 | Are the pressure relief devices fitted and in good condition? |  |  |  |
| 18 | Pass / Fail. |  |  |  |
| Checked by. |
| Date of inspection. |

Appendix 2

Risk assessment for an activity involving compressed gases

The Management of Health and Safety at Work Regulations 1999 require every employer to make a suitable and sufficient risk assessment of the risks to health and safety of his employees to which they are exposed while at work. With regard to gases and cryogenics, other more specific regulations may also need to be considered, namely:- The Control of Substances Hazardous to Health Regulations 2002 (as amended) The Pressure Systems Safety Regulations 2000 The Provision and Use of Work Equipment Regulations 1998 The Manual Handling Operations Regulations 1992 The Dangerous Substances and Explosive Atmospheres Regulations 2002

| Person responsible for this activity |
| --- |
| Name: | Position: | Faculty: |
| Department: | Support Service: |  |
| Signature:___________________________________ Date:_______________________________ |
| Person conducting this assessment |
| Name: | Position: | Faculty: |
| Department: | Support Service: |  |
| Signature:________________________________ Date:_______________________________ |
| Where will this activity be conducted? |
| Room(s): | Building: | Area of campus: |
| Department: | Support Service: | Faculty: |

Part 1. Identification of hazards

| 1. | Are non-flammable, non-toxic ‘industrial’ gases used in the activity? | Y | N | List type and cylinder size: |
| --- | --- | --- | --- | --- |
| 2. | Are flammable gases used in the activity? | Y | N | List type and cylinder size: |
| 3. | Are gases with any other hazardous property (e.g. toxic, corrosive etc.) used in the activity? | Y | N | List type, cylinder size and hazardous properties: |
| 4. | Are medical gases used in the activity? | Y | N | List type and cylinder size: |
| 5. | Are cryogenic liquids used in the activity? | Y | N | Substance: |
| 6. | Does the activity involve mixing fuel gas with oxidising gas and the resulting mixture being burned? | Y | N | Describe: |
| 7. | Are the gas cylinders / vessels located within the laboratory? | Y | N |  |
| 8. | Are the gas cylinders / vessels in a remote location and the gases / liquid piped to the point where they are used? | Y | N | Describe: |
| 9. | Is manual handling of gas cylinders / vessels into position a necessity? | Y | N | Describe: |
| 10. | Does the room where the gases / vessels are located benefit from forced ventilation? | Y | N | Describe: |
| 11. | Is a lift used to transport cylinders / vessels between floors? | Y | N | Describe: |

Part 2. People at risk

| 1 | Identify those people who may be at risk from the activity. | Worker(s) directly involved in the activity. Other laboratory workers in the vicinity. Cleaners / ancillary workers. Maintenance workers. Others (specify). |
| --- | --- | --- |

Part 3. Existing control measures

|  | Further Assessment |  |  |  |
| --- | --- | --- | --- | --- |
| 1 | If the answer to Q3 of Part 1 is yes, then a separate risk assessment is required under COSHH 2002. Has this been done? | Y | N | If yes, reference: |
| 2. | If the answer to Q’s 7 and 9 of Part 1 is yes, then a separate risk assessment is required under the Manual Handling Operations Regulations 1992. Has this been done? | Y | N | If yes, reference: |
| 3 | If the answer to Q 12 is yes, then a separate risk assessment is required under the Confined Space Regulations 1997. Has this been done? | Y | N | If yes, reference: |
|  | Piped Systems |  |  |  |
| 4. | If a piped system is in place, is it inspected and maintained in accordance with Regulations? | Y | N | Details of contractor: |
| 5. | If a piped system is in place, is it subject to any user inspections? | Y | N | Describe: |
|  | Storage & Use |  |  |  |
| 6. | Are cylinders stored upright and properly secured (e.g. by chains or straps)? | Y | N |  |
| 7. | Are cylinders correctly segregated? | Y | N | Describe: |
| 8. | Are measures in place to minimise the number of cylinders located in the laboratory? | Y | N |  |
| 9. | Is appropriate signage present in areas where cylinders are stored and used? | Y | N |  |
| 10 | Is the area spacious enough, clean and adequately lit? | Y | N |  |
| 11 | Is the room adequately ventilated? | Y | N | Describe: |
| 12 | Is there a means of detecting oxygen deficiency (e.g. static monitor / alarm)? | Y | N | Make, model and serial number: |
| 13 | Is the monitor subject to a suitable service / maintenance regime? | Y | N | Details: |
| 14 | Are cylinders kept away from sources of ignition and other flammables. | Y | N | Describe: |
| 15 | If cylinders are stored outside, are they protected from unauthorised tampering (e.g. caged)? | Y | N | Describe: |
| 16 | Are cylinders protected from extremes of temperature? | Y | N | Describe: |
|  | Regulators & Accessories |  |  |  |
| 17 | Are regulators correct for the job and compatible with the gases in question? | Y | N |  |
| 18 | Are regulators suitable for the inlet pressure generated? | Y | N |  |
| 19 | Are regulators within their 5 year working life (2 years for those used with corrosive gases)? | Y | N |  |
| 20 | Are regulators subject to annual maintenance checks? | Y | N | Details: |
| 21 | Are regulators subject to user checks? | Y | N | Details: |
| 22 | Are the correct tools available for fitting regulators and accessories? | Y | N |  |
| 23 | If the answer to Part 1 Q 6 is ‘Y’, have non-return valves and flashback arrestors been fitted? | Y | N |  |
|  | Personal Protective Equipment (PPE) |  |  |  |
| 24 | If necessary, is suitable PPE available for users (e.g. gloves, goggles, full face protection etc.)? | Y | N | Type: |
| 25 | Is PPE adequately accommodated? | Y | N | How and where?: |
| 26 | Is any special emergency equipment required (e.g. breathing apparatus)? | Y | N |  |
| 27 | Is this equipment available and suitably maintained? | Y | N | Make, model, serial number and location: |
|  | Emergency Procedures |  |  |  |
| 28 | Are emergency procedures defined, and are all users familiar with what to do in an emergency? | Y | N | Details: |
|  | Information, Instruction & Training |  |  |  |
| 29 | Is a material safety data sheet available and are users familiar with the properties of the gas? | Y | N |  |
| 30 | Have users received adequate instruction and training within the department? | Y | N | Describe: |
| 31 | Are formal training records kept within the department? | Y | N | Details: |
| 32 | Have users attended any formal gas / cryogenics training courses? | Y | N | Details: |
| 33 | If applicable, have users been trained in the use of emergency equipment? | Y | N | Details: |

Part 4. Recommended measures for risks identified but not adequately controlled

| No. | Description | Remedial Action | Person Responsible | To be completed by (date) | Date actually completed |
| --- | --- | --- | --- | --- | --- |

# Text boxes

C1FS

Denotes:

Decade

Year

Month

New or Service Exchanged

A = 197- B = 198- C = 199- D = 200-

0 - 9 of decade

A = January B = February C = March etc.

S = manufactured as new X = service exchange

Example: C1FS = June 1991 new