## Slide 1: Control of Substances Hazardous to Health (COSHH)
Loughborough University
DRAFT Internal Audit Report 12-11
Overall report rating:
MEDIUM

## Slide 2: Contents
 | Page
Executive summary | 2
Introduction | 5
Findings and recommendations | 7
Appendices List of Participants and documents reviewed Summary if risks reviewed Implementation plan | 13 16 17
Status of report
  Draft issued 06 June 2011
  Management responses received
  Final report issued
  Presented to Audit Committee 30 June 2011
This report is provided pursuant to the terms of our internal audit engagement letter, dated 3rd September 2007 with the University. The report is intended solely for internal purposes by the management and Council of the University and should not be used by or distributed to others, under the Freedom of Information Act 2000 or otherwise, without our prior written consent. To the fullest extent permitted by law, KPMG LLP does not assume any responsibility and will not accept any liability in respect of this Report to any party other than the Beneficiaries.
Distribution
  Catherine Moore University HSE Manager
  Andrew Burgess Director of Facilities Management
  Caroline Walker Acting Chief Operating Officer
  Prof. Shirley Pearce Vice Chancellor
  Audit Committee (Final)

## Slide 3: 1. Executive summary
Introduction
This report details the results of an audit of the management arrangements implemented for the Control of Substances Hazardous to Health (COSHH) at Loughborough University (LU). The audit was undertaken in accordance with our internal audit plan for 2010/11. The overarching objective of the audit was to consider the appropriateness and effectiveness of the policy and associated management arrangements for COSHH within the following four Schools/Departments:
      Wolfson School of Mechanical and Manufacturing Engineering;
      Department of Chemistry;
      Department of Materials; and
      Domestic Services Department (within the Facilities Management Department)
The University has a legal obligation to protect students, staff and others from the hazardous effects of harmful substances. From the audit we recognise that Schools/Departments have engaged with the need to control the use of chemicals and developed local procedures. We noted an inconsistent approach in the application of the University COSHH policy particularly regarding the format and content of Risk Assessments. We have identified opportunities to improve the mechanism for managing the Local Exhaust Ventilation plant across the University, the use of Personal Protective Equipment and the manual handling of solvents. These findings could expose the University to a risk of non-compliance with COSHH Regulations and weaken senior management’s ability to defend enforcement action or civil claims should this be raised against the University.
We have based this audit on the key requirements of the University COSHH policy and relevant approved codes of practice produced by the Health and Safety Executive (HSE) and provided a risk based assessment. Further details of the scope are included in section 2. The table below shows the number and significance of the recommendations made:
Conclusion
  As internal auditors of the University we are required to provide a statement of assurance on the systems of internal control, in accordance with the HEFCE Audit Code of Practice and GIAS. However, in giving our opinion, it should be acknowledged that our work is designed to enable us to form an opinion on the quality of the systems examined based upon the work undertaken during our current audit. It should not be relied upon to disclose all weaknesses that may exist and therefore the opinion is not a guarantee that all aspects of the systems audited are adequate and effective.
From the work performed on auditing the University’s arrangements for COSHH, we consider that the appropriateness and effectiveness of the COSHH policy and associated management arrangements are satisfactory in the areas audited. Improvements are required to strengthen the implementation and application of the policy. We have made recommendations which will address the identified weaknesses. The implementation of our recommendations should enhance the arrangements for COSHH management.
 | High | Medium | Low | Total
Recommendations made | 1 | 4 | 1 | 6
Agreed |  |  |  | 

## Slide 4: 1. Executive summary (continued)
Good practice identified
From the work undertaken we are pleased to note the following areas of good practice:
  The Heads of Departments (HODs) from the Schools/Departments sampled demonstrated awareness and understanding of their roles and responsibilities as required by the COSHH policy. Furthermore, two HODs demonstrated how they undertake active monitoring by conducting routine audits/inspections of laboratories.
  The role of Department Safety Officers (DSOs) is positive and important in assisting each School/Department develop internal procedures and monitor activities.
  Safety is a key feature of the academic process for all staff/students who are required to handle or use hazardous substances. Students receive laboratory inductions, training and supervision throughout the academic courses.
  In general we observed the use of detailed Standard Operating Procedures which promote a safe and consistent approach for generic activities.
  The University Health, Safety and Environment (HSE) Office are well regarded by HODs and provide practical and logical support to the Schools/Departments.
Key findings
We have summarised below the key findings arising from this audit. Full details can be found in section three of this report and an implementation plan is included in Appendix C:
      Inconsistent implementation of the University COSHH Policy – The audit has identified inconsistent and incomplete implementation of the University COSHH Policy by Schools/Departments. For example there are no “Nominated COSHH Assessors” and we noted limited completion of hazardous substances registers. In addition, mandatory COSHH training for laboratory technicians has not been implemented. We make a number of recommendations to help ensure internal controls are appropriately implemented.
      Inconsistent approach to COSHH Risk Assessment – The risk assessment (RA) process is an important mechanism for the University to ensure measures necessary to prevent or adequately control exposure to harmful substances are implemented. The audit has identified gaps in the implementation of this process, such as templates being used which are inconsistent with the University COSHH risk assessment template, missing technical information and incomplete reviews. It is understood some academic projects can continue for more than one year which highlights the importance of audit to ensure controls remain relevant and effective. We recommend the University’s COSHH risk assessment template is updated to ensure assessments are suitable and sufficient and therefore reduce risk of non-compliance with legislation.
      Opportunity to improve the robustness of the examination and testing regime for Local Exhaust Ventilation (LEV) plant – The LEV system is an important engineering control system used widely by Schools/Departments to reduce exposures to airborne contaminants. The audit has identified gaps in existing procedures which should be in place to ensure the units are operational and pass statutory examination and testing. A number of units were found to have failed testing though were still operational. In general there is a lack of clarity and understanding about the roles and responsibilities of Facilities Management and the Schools/Departments regarding the LEV plant. Failure to maintain safety equipment in accordance with internal controls and legal requirements could weaken senior management’s ability to defend enforcement action or civil claims should this be raised against the University.

## Slide 5: 1. Executive summary (continued)
Key findings (continued)
      Manual Handling of solvent barrels in the Department of Chemistry storage facility - In addition to managing chemical hazards, the University must also consider subsidiary hazards such as manual handling which arise from the storage of substances. During the audit we identified how current storage arrangements require 200L barrels of solvent to be handled and manoeuvred which presented a risk of strain injury to the member of staff. We recommend that alternative equipment and storage options are considered, to potentially reduce the risk to the lowest level.
      Inadequate labelling of decanted chemical substances – Our audit identified how substances are decanted down from bulk containers into small bottles for use in laboratories and by the Domestic Services department. A number of bottles were not clearly marked and labelled with manufacturers instructions for use. This presents a risk of the contents being mistaken for potentially less hazardous substances. We recommend guidance is issued to all Schools/Departments to improve the labelling protocol and reduce the risk of using unknown substances.
      Inconsistent use of Personal Protection Equipment (PPE) - PPE is provided as an additional measure to all other controls to reduce exposure to hazardous materials. During our audit we observed instances where PPE was not worn despite being mandatory in the areas sampled. We also identified an inconsistent approach towards the dress code for work in laboratories. We recommend the PPE guidance is reviewed and the use of PPE monitored.

## Slide 6: 2. Introduction
Background to this audit
  The overall aim of this audit has been to advise the Audit Committee and University Health, Safety and Environment Office, if appropriate and effective measures are in place for the Control of Substances Hazardous to Health (COSHH) to ensure compliance with the University COSHH policy and relevant legislation.
The audit focused on the COSHH management arrangements within four Schools/Departments. These were chosen in consultation with the University HSE Office because of their significant use of hazardous substances.
      Wolfson School of Mechanical and Manufacturing Engineering;
      Department of Chemistry;
      Department of Materials; and
      Domestic Services Department (within the Facilities Management Department)
  The audit considered the following areas:
      Level of overall compliance with the University COSHH policy ;
      Effectiveness and appropriateness of the policy against existing COSHH related activities;
      Appropriateness of key processes: training, risk assessment, protective measures, emergency procedures, incident reporting, health surveillance, and monitoring;
      Effectiveness of controls across the substance lifecycle: business need, purchase/order, storage, use and disposal; and
      COSHH governance: clarity of designated roles, responsibilities and accountabilities of personnel and the level of H&S specialist resource for COSHH.
  In conducting our assessment, we audited arrangements against the University COSHH Policy, Health and Safety at Work etc Act 1974 and relevant good practice/industry standards (e.g. HSE guidance; L5 Approved Code of Practice and guidance for the Control of Substances Hazardous to Health Regulations 2002 (as amended) (COSHH 2002).
Exclusions from scope
The scope of our work was limited to an audit of the arrangements for the management of COSHH in four University Schools/Departments in accordance with our Terms of Reference. The following was excluded from the scope:
      Conducting a full Health & Safety (H&S) compliance assessment against all relevant H&S legislation;
      Identification of H&S hazards and risks; and
      Conducting risk assessments on behalf of the University.

## Slide 7: 2. Introduction (continued)
Report structure
  This report is set out in three sections, including this section.
      Section 1 provides a summary of our findings along with our overall opinion of the arrangements.
      Section 2 provides an introduction to the audit.
      Section 3 sets out our findings in more detail, highlighting the priorities and recommendations. These are all matters that need to be addressed in order to achieve compliance.
  Following these are three appendices showing a summary of participants interviewed, a summary of documents reviewed and an implementation plan.
Acknowledgement
  We would like to extend our thanks to all University staff who assisted with this audit. In particular we would like to thank Catherine Moore, Hugh Weaver and Claire Brownless for their time and assistance.

## Slide 8: 3. Findings and recommendations
3.1 Inconsistent implementation of the University COSHH Policy
Medium Priority
The audit considered the implementation of the University COSHH policy across the Schools/Departments sampled. We identified a disparity between the policy requirements and current implementation at the School/Department level.
The following observations were noted in support of this:
      Schools/Departments have not implemented “Nominated COSHH Assessors” as required by the policy. Instead, Schools/Departments allow all staff/students to risk assess their planned activity after receiving information and instruction in how to undertake a risk assessment.
      In general, Schools/Departments have not fully implemented the policy requirement (policy reference 3.4b) to keep a register [inventory] of all hazardous substances. Some Departments monitor and record details of all substances in use, others only keep a record of substances in the storeroom. Furthermore each Department has their own arrangements for the procurement [and storage] of hazardous substances which may cause duplicate stock to be purchased as well as storage in multiple facilities.
      The University safety training matrix indicates COSHH training is mandatory for all laboratory technicians. However, in the Wolfson School there was evidence to suggest only 6 of 38 technical staff had completed this training.
Risk
Failure to clearly articulate the University’s policy could impact senior management’s ability to effectively implement requirements at a local School/Departmental level.
There is an increased risk that inconsistent application of the University’s policy across Schools/Departments; their adoption of their own policies and a lack of appropriate training could result in inadequate implementation of the COSHH policy. The University’s ability to manage COSHH risks could therefore be compromised.
Recommendations
We recommend that management implement the following recommendations:
      Consider removing the requirement for “Nominated COSHH Assessors”. The existing arrangements appear sufficient as they enable students and staff to assess the hazards created from their own activities. Furthermore they are supported with instruction, supervision and an approval procedure.
      Request all Schools/Departments to review and update their register of hazardous substances.
      Ensure all laboratory technicians who supervise the use of hazardous substances complete the University COSHH training and maintain records on file.
      Consider implementing a centralised procurement process and storage facility, which could improve efficiencies in managing substances and could result in costs savings.

## Slide 9: 3. Findings and recommendations (continued)
3.2 Inconsistent approach to COSHH Risk Assessment
Medium Priority
The risk assessment (RA) process enables the University (and HOD) to make a valid decision about the measures necessary to prevent, or adequately control, the exposure of their employees and students to substances hazardous to health arising from the work/academic activities. Furthermore it enables students and staff to demonstrate readily, both to themselves and to others, that all the factors pertinent to the work have been considered, controls are practical, and an informed and valid judgement has been reached about the risks.
We identified several findings that suggest there are gaps in the implementation of the RA process, as follows:
      There is inconsistent use of the RA templates with varying scopes of RA themes. The FM version most closely complies with policy/legal requirements, however example factors not considered in other policies are:
          the extent to which prevention and substitution of a substance was considered.
          specific consideration of anyone who may be at an increased risk from the work activity. For example, inexperienced students (i.e. Undergraduates working near a PhD project), visitors, cleaners, security, etc.
      There is an inconsistent approach towards rating the residual risk presented by the activities involving hazardous substances. For example, the Department of Materials use “Extreme” as an optional risk category which is not in accordance with the agreed University COSHH policy risk ratings of “Low”, “Medium” or “High”.
      We noted that once RA’s are written and approved they are not always reviewed. The assessment record should be a living document which must be revisited to ensure that it is kept up to date.
      There is an inconsistent approach towards the gathering, use and storage of safety data sheets. Some Departments require safety data sheets to be attached to the RA, and others rely on access to the internet for online records from the manufacturer/supplier.
Risk
There is an increased risk of an inconsistent and incomplete approach to the completion of risk assessments. This increases the risk of non-compliance with the University COSHH policy and the COSHH Regulations 2002 which could ultimately impact the University’s ability to effectively identify and manage COSHH risks and discharge it’s H&S responsibilities.
Recommendations
We recommend that:
      The University COSHH RA template is updated to take the above points into consideration. Following the audit, the University HSE Office should communicate the changes to all stakeholders. It may be necessary to provide refresher training on the RA process.
      The HSE Office formally authorises the use of all School/Department COSHH RA templates.
      The University considers implementing a consolidated approach towards the gathering, use and storage of safety data sheets.

## Slide 10: 3. Findings and recommendations (continued)
3.3 Opportunity to improve the robustness of the examination and testing regime for Local Exhaust Ventilation plant
High Priority
Local Exhaust Ventilation (LEV) is an engineering control system used widely by Schools/Departments to reduce exposures to airborne contaminants such as dust, mist, fume, vapour or gas in University laboratories. Facilities Management are responsible for ensuring plant are examined, tested and maintained. Schools/Departments are responsible for ensuring the LEV units are used correctly.
The findings below identified weaknesses in existing procedures to ensure all LEV units function correctly and pass the appropriate examination/testing.
The audit has identified the following:
      Examination records from July/August 2010 indicate a number of units failed testing. The relevant records, held by Facilities Management, were not updated with details to confirm that appropriate corrective action had been taken to address the faults in a timely manner.
      A number of units in the Department of Materials were affixed with a “FAIL” label which indicate they had not met the specific statutory requirements. At the time of the audit, the units were still operational and no information was available to suggest corrective action had been taken and that they were safe to use.
      LEV units are required to meet an airflow rate of 0.5 ms-1. However, we were made aware that LEV units which have failed the examination & testing by a small margin (i.e. within 0.05 ms-1) are permitted to continue to operate without corrective action being prompted.
Risk
Failure to maintain safety equipment in accordance with internal controls and legal requirements could weaken senior management’s ability to defend enforcement action or civil claims should this be raised against the University.
Furthermore, operation of unsafe equipment could expose staff/students to unnecessary H&S risks.
Recommendations
We recommend that management :
      Review the labelling and examination records of all LEV units to identify any conflicts and carry out corrective action immediately.
      Develop a structured process to ensure appropriate corrective action is taken for any LEV units which fail the statutory examination.
      Produce policy and supplementary guidance for all Schools/Departments about the safe use, restrictions and limitations of the LEV units.

## Slide 11: 3. Findings and recommendations (continued)
3.4 Manual Handling of solvent barrels in the Department of Chemistry solvent store
Medium Priority
In addition to managing chemical hazards, the University must consider supplementary hazards such as manual handling which arise from the storage of substances.
During our audit we noted that the Department of Chemistry store several 200 litre barrel drums of solvents (i.e. Acetone) in an Annexe, separate from the main Laboratory building. On delivery the Departmental Safety Officer or other member of staff is required to manoeuvre the barrels into position and store horizontally on racks. Whilst some manual handling equipment is available this practice presents a risk of injury from strain or risk of spill due to incorrect lifting procedures and damage to the barrels.
There was no risk assessment available to demonstrate such risks had been identified and controlled.
Risk
Failure to identify and manage risks associated with manual handling, could result in unnecessary injury, time off work and spillages. Furthermore this could weaken senior management’s ability to defend enforcement action or civil claims should this be raised against the University.
Recommendations
We recommend that :
      A risk assessment is carried out for the above activity.
      Depending on the outcome of the RA management consider whether it would be appropriate to use alternative manual handling equipment such as “barrel drum dollies” or “lifters” and a “barrel pump”, to allow the drums to be stored in an upright position.

## Slide 12: 3. Findings and recommendations (continued)
3.5 Inadequate labelling of decanted chemical substances
      Medium Priority
      Each School/Department uses varying quantities of hazardous substances for their activities. In some cases substances are purchased in bulk containers and decanted down into smaller, usable containers and spray bottles.
      We noted that a number of bottles containing decanted substances were not clearly marked and labelled with the manufacturer’s instructions for use. This is inconsistent with HSE good practice on labelling substances.
Risk
There is a risk of cross contamination and potential harm from using unknown substances. If information regarding the name and hazardous properties of the chemical substance is not transferred, the contents could be mistaken for another, potentially less hazardous substance, such as water, increasing the potential risk to staff / students handling the substances.
Recommendation
We recommend management considers issuing guidance or providing training to all Schools/Departments about decanting substances.
The HSE recommends that containers are clearly marked and labelled with the manufacturer’s instructions for use. The label should clearly identify the hazards of the substance.

## Slide 13: 3. Findings and recommendations (continued)
3.6 Inconsistent use of Personal Protection Equipment (PPE)
      Low Priority
Personal Protective Equipment (PPE) is provided as an additional measure to all other controls to reduce exposure to hazardous materials. During our audit we observed instances where PPE was not worn despite being mandatory in the areas sampled.
The audit has identified the following:
      In some cases students were observed to not be wearing PPE, such as safety glasses or lab coats in areas where use is mandatory.
      According to University accident data for 2009-2011 produced by the University HSE office there have been a number of incidents in which PPE could have provided additional protection because other measures failed.
      There are differences in dress code policy regarding what clothing can be worn in laboratories. In one Department male students were observed to be wearing shorts, however this was prohibited in another due to risks of substances onto skin. Whilst it is recognised risks of absorption through the skin may depend on the activity being carried out, the University may wish to have a consistent approach towards clothing in all laboratories.
Risk
Failure to have a clear procedure for PPE has the potential to lead to incorrect use of PPE which may expose students/staff to hazardous materials.
Furthermore if PPE is not worn when mandatory this could weaken senior management’s ability to defend managements ability to defend enforcement action or civil claim should this be raised against the University.
Recommendations
We recommend that management :
      Conduct a risk assessment to consider if the existing dress code is appropriate in controlling risks of splashing.
      Depending on the outcome of the RA management decide the appropriate dress code to consider if the existing dress code is an effective supplementary control to reduce risk of injury further.
      Review signage for all laboratory areas to ensure any mandatory requirements for PPE are clear and visible.
      Take appropriate steps to monitor the use of PPE and that corrective actions are implemented where necessary.

## Slide 14: Appendix A List of participants and documents reviewed
Client contacts
  During the audit we came into contact with the following people:
  Andrew Burgess Director of Facilities Management
  Professor Paul Thomas Head of Department - Department of Chemistry
  Professor Rob Parkin Head of Department - Wolfson School of Mechanical and Manufacturing Engineering
  Professor Jon Binner Head of Department - Department of Materials
  Cathy Moore University HSE Manager
  Carole Burgess Caretaking Manager - Facilities Management
  Hugh Weaver Assistant HSE Manager
  Professor Mo Song Department Safety Officer / Senior Lecturer- Department of Materials
  Bill Betts LEV Supervisor - Facilities Management Department
  Richard Price Facilities Supervisor - Department of Chemistry
  Bob Temple Lead Technician / Department Safety Officer - Wolfson School of Mechanical and Manufacturing Engineering
  Alistair Daley Lead Technician / Department Safety Officer - Department of Chemistry
  Ray Owens Lead Technician - Department of Materials
Staffing
  The following KPMG staff were involved in the audit:
  Mike Rowley Partner
  Mark Dawson Senior Manager
  James Holley Manager
  Andrew Walsh Manager
  Dania Sauza Consultant
  A total of 12 days were used for the audit in accordance with the 2011/12 audit plan, as amended for inclusion of this review in place of the CRC Energy Scheme review.

## Slide 15: Appendix A List of participants and documents reviewed (continued)
Documents
  The following documents were reviewed as part of the audit:
    Provided by the Health, Safety & Environment Office:
        Loughborough University COSHH Policy
        University H&S Policy Statement and Arrangements
        Staff training matrix 2009/2010 (SAF09-P23b)
        COSHH related accident/incident reports 2009-2011
    Provided by the Facilities Management Department:
        Facilities Management H&S Statement
        Facilities Management (FM) – Specifications and conditions of contract for the inspection and maintenance of fume cupboards, associated extract systems and air make up units, and local exhaust ventilation systems- various academics buildings
        Annex H to LU Estate Services Health and Safety Policy – Hazardous Substance Procurement, Handling and Storage
        FM HSE Improvement Plan 2010-11 version 3.0 January 2011
        A sample of completed COSHH Risk Assessments
    Provided by the Department of Chemistry:
        Department of Chemistry Health and Safety Policy
        A sample of completed COSHH Risk Assessments
        Second Floor Analytical, April 2011 Laboratory Tour Notes (HOD)

## Slide 16: Appendix A List of participants and documents reviewed (continued)
Documents (continued)
    Provided by the Wolfson School of Mechanical and Manufacturing Engineering:
        Disposal of Biological (Healthcare) Waste (SOP003) - CBE
        Safe Handling and Disposal of Trypan Blue (SOP029) - CBE
        Use of Personal Protective Equipment (PPE) (SOP037) - CBE
        Receipt and Purchase of Chemicals and Solvents (SOP042) - CBE
        Generation of Risk Assessment for New Materials and Processes (SOP048) - CBE
        Decontamination & Disposal of Biological (Healthcare) Waste (SOP003)
        A sample of completed COSHH Risk Assessments
    Provided by the Department of Materials:
        A sample of completed COSHH Risk Assessments
        Department Health and Safety Handbook

## Slide 17: Appendix B Summary of risks reviewed
The following risks were reviewed during the course of our review:
*Inherent risk is the susceptibility of an audit area to error which could be material, individually or in combination with other errors, assuming that there are no related internal controls.
Risk description | Inherent risk*
Ineffective governance arrangements and deployment of specialist Health and Safety resource | Medium
Non-compliance with legislation | Medium
Insufficient awareness of H&S requirements within the University | Medium
Accidents occur due to non-compliance with health and safety management procedures | Medium

## Slide 18: Appendix C Implementation plan
Ref | Priority | Recommendation | Management response | Officer responsible | Date of action by
3.1 | Medium | Inconsistent implementation of the University COSHH Policy We recommend that management implement the following recommendations: Consider removing the requirement for “Nominated COSHH Assessors”. The existing arrangements appear sufficient as they enable students and staff to assess the hazards created from their own activities. Furthermore they are supported with instruction, supervision and an approval procedure. Request all Schools/Departments review and update their register of hazardous substances. Ensure all laboratory technicians who supervise the use of hazardous substances complete the University COSHH training and maintain records on file. Consider implementing a centralised procurement process and storage facility, which could improve efficiencies in managing substances and could result in costs savings. | Agreed Agreed – to be submitted to the next Health, Safety & Environment Committee for review. Agreed – to provide training courses through Staff Development Disagree – to be discussed with Andrew Burgess | HSE Manager HSE Manager HSE Manager HSE Manager | Immediate October 2011 October 2011 October 2011
3.2 | Medium | Inconsistent approach to COSHH Risk Assessment We recommend that: The University COSHH RA template is updated to take the above points into consideration. Following the audit, the University HSE Office should communicate the changes to all stakeholders. It may be necessary to provide refresher training on the RA process. The HSE Office formally authorises the use of all School/Department COSHH RA templates. The University considers implementing a consolidated approach towards the gathering, use and storage of safety data sheets. | Agree – to review guidance and update template. To approve departmental arrangements to ensure consistency with guidance procedures Agree – as above Agree – as above | HSE Manager HSE Manager HSE Manager | October 2011 October 2011 October 2011

## Slide 19: Appendix C Implementation plan (continued)
Ref | Priority | Recommendation | Management response | Officer responsible | Date of action by
3.3 | High | Opportunity to improve the robustness of the examination and testing regime for Local Exhaust Ventilation plant We recommend that management: Review the labelling and examination records of all LEV units to identify any conflicts and carry out corrective action immediately. Develop a structured process to ensure appropriate corrective action is taken for any LEV units which fail the statutory examination. Produce policy and supplementary guidance for all Schools/Departments about the safe use, restrictions and limitations of the LEV units. | (A Sweeney) |  | 
3.4 | Medium | Manual Handling of solvent barrels in the Department of Chemistry solvent store We recommend that : A risk assessment is carried out for the above activity. Depending on the outcome of the RA management consider whether it would be be appropriate to use alternative manual handling equipment such as “barrel drum dollies” or “lifters” and a “barrel pump”, to allow the drums to be stored in an upright position. | Agreed – to be raised with Chemistry Agreed – to be raised with Chemistry | HSE Manager HSE Manager | Immediate Immediate
3.5 | Medium | Inadequate labelling of decanted chemical substances We recommend management considers issuing guidance or providing training to all Schools/Departments about decanting substances. The HSE recommends that containers are clearly marked and labelled with the manufacturer’s instructions for use. The label should clearly identify the hazards of the substance. | Agreed – guidance to be issued | HSE Manager | Immediate

## Slide 20: Appendix C Implementation plan (continued)
Ref | Priority | Recommendation | Management response | Officer responsible | Date of action by
3.6 | Low | Inconsistent approach to the use of Personal Protection Equipment (PPE) We recommend that management : Conduct a risk assessment to consider if the existing dress code is appropriate in controlling risks of splashing. Depending on the outcome of the RA management decide the appropriate dress code to consider if the existing dress code is an effective supplementary control to reduce risk of injury further. Review signage for all laboratory areas to ensure any mandatory requirements for PPE are clear and visible. Take appropriate steps to monitor the use of PPE and that corrective actions are implemented where necessary. | Agreed – Draft PPE Policy to be submitted to Health, Safety & Environment Committee Agreed – to be included in the above Policy Agreed – to be included in the above Policy Agreed – part of the Policy requirement to monitor and remind Schools | HSE Manager HSE Manager HSE Manager HSE Manager | October 2011 October 2011 October 2011 October 2011

## Slide 21
© 2011 KPMG Audit Plc, a UK public limited company, is a subsidiary of KPMG Europe LLP and a member firm of the KPMG network of independent member firms affiliated with KPMG International Cooperative, a Swiss entity. All rights reserved.
The KPMG name, logo and ‘cutting through complexity’ are registered trademarks or trademarks of KPMG International Cooperative (KPMG International).