#### Health, Safety & Environment Committee

Subject:  University Fire Officer’s report February 2012

## 1. Fire Incidents

There has been no actual fire incidents in the current reporting period:

2.    Controlled Fire Evacuations (conducted November-2011)

Overall the annual controlled fire evacuations across campus were very good. All the occupants within the building at the time of the test evacuated, however there were a few buildings where a small number of staff or students were slow in exiting the building. Slightly running over the acceptable time for a safe evacuation of the building by 1 – 2 minutes.

All persons assembled at the designated assembly points were reminded to treat all fire alarm signals as a genuine fire emergency, evacuate the building immediately and use the nearest available exit. Staff/lecturers were further reminded of their responsibility for the safety of their students and to ensure they make themselves aware of alternative means of escape, the fire action emergency procedures and the location of the fire assembly point. This information is displayed in all lecture theatres / pool rooms.

All Fire Marshals that were in the buildings at the time of the controlled evacuation performed their duties well which involved them sweeping designated areas of the building and reporting to the fire alarm panel where they were asked to identify the location of the fire activation.

2.1    Issues witnessed

Occupants questioned the fire alarm.

Occupants taking considerable time gathering personal belongings before evacuating.

Occupants exited the building and went elsewhere rather than reporting to the assembly point.

Occupants congregated at the entrance to the building rather than assembling at the designated assembly point.

Persons attempted to enter the building whilst the fire alarm was still sounding.

Fire doors left wedged open.

2.2    Recommendations

To prevent delays in evacuating University buildings it is imperative that both staff and students:

- Respond immediately when the fire alarm is sounded.

- Exit the building promptly by the nearest available fire exits.

- Once outside the building proceed towards the designated fire assembly point allocated to the building.

- Wait at the fire assembly point until instructions are given by the fire marshal or security officers to re-enter.

Lecturers are reminded to:

- Ensure they understand the University fire action procedures’ (fire action procedures and floor plans showing the location of the fire assembly points are placed in all lecture rooms).

- Ensure they know the location of the fire assembly point assigned to the building they are lecturing in (signage showing the location of the assembly point in relation to the building has been placed in all lecture rooms).

- Know the whereabouts of all available exits.

3. Fire Alarm Activations and Fire & Rescue Service call-outs statistics September – December 2011.

In the last 4 month period the Fire & Rescue Service was called to 1 activation, which did not involve an actual fire (see table below).

|  | September 11 | October 11 | November 11 | December 11 | Total |
| --- | --- | --- | --- | --- | --- |
| Number of Activations | 16 Residential 0 Dining Halls 13 Academic | 85 Residential 1 Dining Halls 14 Academic | 40 Residential 0 Dining Halls 5 Academic | 24 Residential 0 Dining Halls 8 Academic | 165 1 40 |
| Activations involving F&RS | None | None | 1 Towers East 6th Floor | None | 1 |
| Genuine Fires | None | None | None | None | 0 |

Academic Buildings:

| 1 Brockington | 1 Chemistry | 1 Edward Barnsley |
| --- | --- | --- |
| 1 FM Building | 7 Haslegrave | 2 Hockey Pavilion |
| 5 Holywell Park | 1 Imago sales building | 4 James France |
| 1 Martin Hall | 1 Rutland Hall | 4 S Building |
| 2 Sir David Wallace | 1 Sir Frank Gibb Lab | 1 Sir John Beckwith |
| 3 Sir Richard Morris | 3 SportPark | 1 Wavy Top |

Dining Halls:

| 0 Cayley/Rutherford D/Hall | 1 Faraday/Royce D/Hall | 0 David Collett D/Hall |
| --- | --- | --- |
| 0 Elvyn Richards D/Hall | 0 William Morris D/Hall |  |

Halls of Residence (University Managed)

| 5 Butler Court | 19 Cayley | 8 David Collett | 23 Falk / Egg |
| --- | --- | --- | --- |
| 21 Faraday | 16 Royce | 13 Rutherford | 5 Telford |
| 3 Towers | 2 University Lodge | 29 UPP Blocks | 17 Village Court |
| 4 Whitworth | 0 200 Ashby Rd |  |  |

Halls of Residence (Not managed by the University) Unite:

| Harry French 11 | William Morris 20 | Holt 4 |
| --- | --- | --- |

Note

5 activations at Harry French and 2 at William Morris had no visible cause/reason into way they should activate.

The Major Causes of Fire Alarm Activations in LU Halls of Residence:

- 63 Unattended cooking in self catering kitchens

- 54 Steam from showers in en-suite bedrooms and aerosol sprays

- 5 Faulty sensors or fire alarm panels

- 15 Unknown causes

- 12 Other (water contamination in detector head, lighting strike, power outage etc.)

- 6 Malicious call point activations or tampering/removing of detector heads

- 5 Accidental activation of call point

- 3 Smoking incident (including Candles & incense sticks)

- 4 Contractors (dust or fumes from paint)

Cooking Related Incidents In LU Halls Of Residence:

| Butler Court 1 | Cayley 3 | David Collett 2 |
| --- | --- | --- |
| Falkner / Eggington 13 | Faraday 7 | Royce 8 |
| Rutherford 2 | Telford 2 | Towers 1 |
| UPP 10 | Whitworth 2 | University Lodge 2 |
| Village Court 10 |  |  |

All above information gathered from period (1/09/11 –31/12/11) R M Harrison –Health, Safety & Environment Office

4. USHA Fire Statistics Comparisons 2009/ 2010 & 2011

Please see a copy of Loughborough University fire statistics sent to USHA (see next page)

*Unfortunately USHA don’t provide a table to compare Loughborough against other participating Universities at the present time.